## Slide 1: Capstone Project Phase A Denoising using Noise-to-Noise
Supervisor:
Miri Weiss Cohen
Submitters:
Or Man
Liad Yadin

## Slide 2: Course Outline
Introduction
Background
  Encoder-Decoder CNN
  CT Noise
  Denoising
Research Process
Expected Achievements
Product
Verification Plan

## Slide 3: Introduction - Problem
CT image has a high contrast sensitivity characteristic which is used to differentiate among the soft tissues within the human body.
Noise is value changes that occurs in the image.
Noise in CT image can cause:
Sizing issue.
Material misdiagnosis.
Small feature disappearing.

## Slide 4: Introduction - Motivation
Image quality mainly depends on the patient's exposure during the scan.
Reducing the exposure reduces patients' health risks, but also reduces image quality due to higher noise in the image.
Poor countries do not have access for expensive medical equipment.
Clean dataset is limited and hard to create for normal ML solutions.

## Slide 5: Background Encoder-Decoder CNN
Convolution layers
Max pooling layers
Up-convolution layers
Copy and Concatenate
Encoder Decoder

## Slide 6: Background CT Noise

## Slide 7
The main challenges for noise reduction in CT images are:
Flat regions should be flat.
Image boundaries should be preserved (no blurring).
Texture details should not be lost.
Global contrast should be preserved.
New artifacts should not be generated
Background CT Noise – Denoising

## Slide 8
Filters
Smoothening and Sharpening filters
Machine Learning
“Standard" Noise2Clean
Noise2Noise
Learning to produce clean images by looking on noisy and clean pair of the same image.
In the next slide
Background CT Noise – Denoising

## Slide 9
2 Noisy instances of the same base CT image .
Noise is hard to recreate, so average noise is reproduced.
Small Dataset solution:
Data augmentation to increase even more the dataset.
The results are in the same range as Noise2Clean (and even higher).
Background CT Noise – Denoising – Noise2Noise

## Slide 10: Research Process Dataset
“DeepLesion” dataset.
32,735 images from 4,400 patients.
The dataset is normalized.
Noise is added on the fly.
Noise is “Additive White Gaussian Noise” (AWGN)
AWGN has normal distribution with zero mean.

## Slide 11: Expected Achievements
Build a network based on the Encoder-Decoder CNN with our modifications.
Create a network that can be trained using the available medical data.
A system that can reduce noise by a factor of 10-15%.
Find the best values for the hyperparameters.
We expect to build a system that will be able to denoise a CT image with better accuracy than other available methods.

## Slide 12: Product - Flow

## Slide 13: Product - GUI

## Slide 14: Verification Plan
Expected result | Test case | Case number
Error message: "Wrong format" | Insert wrong picture format | 1
The system will denoise the picture | Insert expected picture format | 2
Error message: "Insert picture" | Press "Denoise CT scan" without inserting a picture | 3
The system will denoise the picture | Press "Denoise CT scan" after inserting a picture | 4
Back to the main window | Press "back" | 5

## Slide 15: Questions?